[PROJECT NAME]									        07 44 53

[PROJECT NO.]								      FIBER CEMENT PANELS

[DATE]

SPECIFICATION SECTION 07 44 53

Acrytec “Quartz Board” Fiber Cement Panel Rainscreen System

SPEC NOTE:  This specification has been numbered, organized and formatted in accordance with the MasterFormat, Section Format and Page Format documents published by Construction Specifications Canada (CSC).

The content of this specification is of general order and must be adapted to the specific requirements of a project.  It is offered as a guide to experienced and knowledgeable construction professionals who must assume full responsibility for its interpretation and use. Acrytec Panel Industries is the material manufacturer.

The square brackets [] containing texts indicate an option to be considered/inserted by the specifier.  Remove brackets and unused options before printing.

PART 1 GENERAL

  - SECTION INCLUDES

1.  Supply and installation of fiber cement panel system with acrylic coating including mounting channels, components, adhesives, joint sealants, fasteners, and insulation.

1.02     RELATED SECTIONS

[.1   Section 03 30 00 – Concrete Substrates].

[.2   Section 04 00 00 – Masonry Substrates].

[.3   Section 05 10 00 – Structural Metal Framing].

[.4   Section 06 10 00 – Rough Carpentry].

1.03     REFERENCES

.1   Ensure fiber cement panel system conforms to the following:

.1   ANSI/ASME B18.6.4 -1998, Thread Forming and Thread Cutting Tapping 				Screws and Metallic Drive Screws - Inch.

.2	ASTM C920-14, Standard Specification of Elastomeric Joint Sealants.

.3	CAN/CSA G164-M92 (R2003) Hot Dip Galvanizing of Irregularly Shaped 				Articles.

.4	ASTM C1186- Standard Specification for the Flat Fiber-Cement Sheets

.5    ASTM D3359- Standard Test Method for Measuring Adhesion by Tape Test, Tool and Tape.

.6    ASTM E136- Standard Test Method for Behaviour of Materials in a Vertical Tube  Furnace at 750 degrees C. (Non-combustible materials)

.7    ASTM E84 Flame Spread Index = 0, Smoke Developed Index = 5.

.8    Fiber-cement Siding – complies with ASTM C 1186 Type A Grade II.

.9    Fiber-cement Siding – complies with ASTM E 136 as a noncombustible material.

1.04	   PRE-INSTALLATION MEETINGS

.1   Co-ordinate products, techniques and sequencing of related work with Section 		    	  [01 31 19 – Project Meeting] [and] [01 31 19.33 – Pre-Installation Meetings].

1.05   	SUBMITTALS

.1	    Submit the following in accordance with Section [01 33 00 – Submittal 			     	  Procedures], and as follows:

.1	Shop Drawings:  Provide shop drawings as specified in [Section 01 33 23] 					showing large scale details of members and materials, of anchoring devices where 			required, dimensions, thicknesses, description of materials, finishing 					specifications, dimensioned wall layout, and other pertinent information.

.2	Test and evaluation reports from independent laboratory showing physical 				properties.

.3	Product Data:  Fiber cement panel manufacturer’s printed product literature and     written “Installation Instructions”.

.4	Samples:  Duplicate 305 mm x 305 mm samples of panel type showing anchoring 				method, 25 mm rainscreen drainage cavity, and finish.

.5   Warranty Documentation:  Manufacturer’s sample warranty certificate.

.6	Maintenance Instructions:  Panel maintenance and cleaning instructions.

1.06	QUALITY ASSURANCE

.1	Retain a licensed Professional Engineer registered in the [Province of Ontario] for design of 	panel work and to review, stamp and sign shop drawings.

.2	Ensure materials required for this Section of Work are sourced from one manufacturer 	including panels, mounting channels, backer components, joint sealants, and fasteners.

.3	Manufacturer:  to have minimum 10 years experience with fiber cement panel manufacturing.

.4	Installer Qualifications: [Minimum 5 years documented experience installing similar

products] 	[manufacturer trained installers].

.5	Mock-up:

.1	Construct mock-up consisting of a minimum of 2 over 2 panels.

.2	Include the following components in mock-up:

a.  Structural support framing for cladding system.

b.  Associated components and accessories.

c.  Fastening system.

d.  Panel cladding.

.3  Erect mock-up as part of building installation, leave in place when accepted.

.4   Obtain Consultant’s review of mock-up prior to proceeding with cladding installation 				work.

.5	Approved mock-up to serve as standard of quality of installation for this project.  All 				panels must be reviewed in accordance to samples as noted in 1.05 of this Section.

1.08	PACKAGING WASTE MANAGEMENT

.1	Separate waste materials for [reuse] [recycling] [_____] in accordance with Section

[01 7419 - Construction/Demolition Waste Management and Disposal] [_____].

.2	Divert used metal cut-offs from landfill by disposal [into the on-site metals recycling bin] 	[at the nearest metal recycling facility] [_____].

.3	Divert reusable materials for reuse at nearest used building materials facility.

.4	Divert unused caulking, sealants, and adhesive materials from landfill through disposal at 	hazardous material depot.

PART 2 PRODUCTS

  - MANUFACTURER

.1	  Acceptable Wall Panel Manufacturer:  Acrytec Panel Industries, 40 Gaudaur Road, Unit 1, Woodbridge, Ontario L4L 4S6;  Tollfree: 1-800-316-9430; Tel: 905-326-3749;

Fax: 905-326-2732; Contact:  info@acrytecpanel.com                                           Web: www.acrytecpanel.com

.2	Substitutions:  Not permitted, however requests for substitutions will be considered providing substitute products and methods of execution are submitted at least 10 days prior to bid closing date.

.3	Accompany requests for substitutions with evidence substantiating similarity in quality, including technical product data sheet, Product Evaluation report, formal 3-Part specification, and in accordance with Substitution Procedures outlined in [Section 01 25 00, Division 01-General Requirements].

2. 02	MATERIALS

**NOTE TO SPECIFIER** Delete materials from the list below that are not actually required.

.1	 “Quartz Board” Rainscreen System for Non-Combustible Construction

.1  Moisture/vapour barrier: Not supplied by Acrytec.

.2   Mounting Channels: Galvanized 18 gauge steel Z girt, G-90 coating thickness to CAN/CSA G164-M (not supplied by Acrytec) and galvanized 20 gauge Acry channels (supplied by Acrytec).

.3	Optional Insulation: Type and thickness as noted on drawings.

.4   Quartz Board panels

.5	Adhesive:  One-component, moisture curing, polyurethane 3M 540 or Vulkem 116.

.6	Sealant:  Willseal 600 pre-compressed polyurethane foam sealant.

.7   Fasteners (for panel to Acry channel): #10 x 1-1/4” stainless steel screws (custom powder coated) or 15 gauge stainless steel brad nails.

.8   Fasteners (for Acry channel to Z girt): 3/16” industrial stainless steel rivets or #14 x 1-1/4” stainless steel self tappers.

.9  Fasteners (for Z girt to substrate): Engineer approved.

.10	Material for refinishing edges:  Matching acrylic material for site cut panel edges.

.11 Flashing: Not supplied by Acrytec.

.2    “Quartz Board” Rainscreen System for Combustible Construction

.1   Moisture/vapour barrier: Not supplied by Acrytec.

.2   Wood Strapping: 1” x 4” (Not supplied by Acrytec).

.3   Optional Insulation: Type and thickness as noted on shop drawings.

.4   Quartz Board Panels.

.5   Adhesive: One-component, moisture curing, polyurethane 3M 540 or Vulkem 116.

.6   Sealant: Willseal 600 pre-compressed polyurethane foam sealant.

.7   Fasteners (for wood strapping to wood strapping): #10 x 1-1/2” stainless steel wood     screws.

.8   Fasteners (for panel to wood strapping): 15 gauge stainless steel brad nails or # 10 x 1-1/4” stainless steel screws (custom powder coated).

.9   Fasteners (for wood strapping to substrate): Engineer approved.

.10   Material for refinishing edges: Matching acrylic material for site cut panel edges.

.11   Flashing: Not supplied by Acrytec.

2.03	PERFORMANCE/DESIGN CRITERIA

.1	Surface Burning Characteristics:  Flame Spread and Smoke Developed Rating based upon 	triplicate sample testing conducted in accordance with ASTM E84.

.2	Non-Combustibility:  To meet ASTM E 136 as a Non-Combustible construction 	material.

2.04	FABRICATION

Fiber cement rainscreen panels to be factory fabricated with the ability to offer pre-finished corner details, as well as modular sized panels that may be cleanly cut on site using standard power tools.

PART 3 EXECUTION

3.01	EXAMINATION

.1	Inspect substrates for sound structural integrity and approval by certified project engineer.

.2	Ensure substrate surface preparation meets acceptable building standards and be free of any obstructions, as well as straight and uniform.

.3	Ensure substrates are capable of handling load requirements of fiber cement rainscreen systems.

.4	Ensure any vertical studs acting as substrate are not spaced more than 400 mm apart.

.5	Verify actual site dimensions and conditions prior to commencement of work.

.6	Notify Consultant in writing of any conditions that would be detrimental to installation.

.7	Commencement of work will imply acceptance of previously completed substrate conditions.

3.02	INSTALLATION

**NOTE TO SPECIFIER** Delete systems below that are not actually required.

- “Quartz Board” Rainscreen System For Non-Combustible Construction

.1	Install fiber cement rainscreen panels strictly in accordance with shop drawings and manufacturer’s printed installation instructions.

.2	Co-ordinate work with related work to ensure proper installation of wall panels.

.3	Use only fiber cement manufacturer materials and components for installation of rainscreen systems.

.4	Ensure all flashing details are pre-installed as indicated by the architectural drawings.

.5	Ensure moisture and vapour barrier materials are in accordance with local building code requirements and are installed as specified, including the sealing of all window details/wall openings appropriately, prior to installation of fiber cement.

.6   Install 18 gauge galvanized Z girts vertically every 400mm with engineer specified fasteners to every vertical stud. Use approximately 5 fasteners per Z girt. Maintain a 5mm gap for expansion between all Z girts.

.7  Install insulation between Z girts tightly if required. Thickness of insulation must be 1” below top of Z girt to allow for ventilation within the wall cavity.

.8  Horizontally install Acry channels to Z girts using 3/16” industrial stainless steel rivets or #14-1/4” stainless steel self tappers. Space channels no greater than 400mm apart. Maintain a 5mm gap for expansion between all channels and all Z girts.

Note: Shims for levelling may be used.

.9   Incorporate expansion joint details where required.

.10   Vertical Z girts should not span between floors.

.11	Do not over-tighten mechanical fasteners.

.12	Keep finished face down when cutting wall panels. Refinish panel edges where cutting was required. Dust from cutting must be removed before the panel is installed.

.13   Install Quartz Board to the channels using appropriate size and type of mechanical fasteners. Pre drilling all panels before the installation of each mechanical fastener is recommended when using exposed powder coated screws. Remove panel dust created from drilling immediately.

.14	Mechanical fasteners are to be spaced at 400mm vertically. Space mechanical fasteners 20mm from panel edges and centred in the middle of the panel. Quartz Board panels should not span between floors.

.15	Specified adhesive must be used in conjunction with mechanical fasteners on all panels. Apply 5” continuous beads on all channels.

.14   Install Willseal 600 pre-compressed polyurethane foam sealant between all panels and dissimilar materials where possible.

NOTE: The following steps are only applicable when concealing of fasteners is required. Concealing of fasteners is only applicable on specific textured finishes.

.15	Prior to concealing countersunk nail holes, clean bump around ring of cavity to ensure panel surface is flat and clean.

.16	After mixing acrylic filler in container prior to use, fill fastener cavities with amount needed to fill in nail holes, without exceeding size of nail hole diameter.

.17	Remove excess patching material to ensure flat surface.

.18	Patch countersunk nail heads as soon as possible to avoid colour variations and within 24 hours of panel installation.

.19	Do not apply concealing filler below 5ºC.

- “Quartz Board” Rainscreen System For Combustible Construction

.1	Install fiber cement rainscreen panels strictly in accordance with shop drawings and manufacturer’s printed installation instructions.

.2	Co-ordinate work with related work to ensure proper installation of wall panels.

.3	Use only fiber cement manufacturer materials and components for installation of rainscreen systems.

.4	Ensure all flashing details are pre-installed as indicated by the architectural drawings.

.5	Ensure moisture and vapour barrier materials are in accordance with local building code requirements and are installed as specified, including the sealing of all window details/wall openings appropriately, prior to installation of fiber cement.

.6   If insulation is required, fasten extruded polystyrene rigid insulation or Rockwool Comfortboard 110 over substrate. Make note of stud locations before installation.

.7   Vertically install 1” x 4” wood strapping to structurally sound stud/substrate at 400mm apart using engineer specified stainless steel mechanical fasteners. Use approximately 5 fasteners per wood strap. Maintain a 5mm gap between wood strapping.

Note: Shims for levelling may be used.

.8   Install horizontal wood strapping over vertical wood strapping at 400mm O.C. using #10 x 1-1/2” stainless steel wood screws. Maintain a 5mm gap between wood strapping.

.9   Incorporate expansion joint details where required.

.10   Vertical strapping should not span between floors.

.11	Do not over-tighten mechanical fasteners.

.12	Keep finished face down when cutting wall panels. Refinish panel edges where cutting was required. Dust from cutting must be removed before the panel is installed.

.13   Install Quartz Board to the channels using appropriate size and type of mechanical fasteners. Pre drilling all panels before the installation of each mechanical fastener is recommended when using exposed powder coated screws. Remove panel dust created from drilling immediately.

.14	Mechanical fasteners are to be spaced at 400mm vertically. Space mechanical fasteners 20mm from panel edges and centred in the middle of the panel. Quartz Board panels should not span between floors.

.15	Specified adhesive must be used in conjunction with mechanical fasteners on all panels. Apply 5” continuous beads on all channels.

.14   Install Willseal 600 pre-compressed polyurethane foam sealant between all panels and dissimilar materials where possible.

NOTE: The following steps are only applicable when concealing of fasteners is required. Concealing of fasteners is only applicable on specific textured finishes.

.15	Prior to concealing countersunk nail holes, clean bump around ring of cavity to ensure panel surface is flat and clean.

.16	After mixing acrylic filler in container prior to use, fill fastener cavities with amount needed to fill in nail holes, without exceeding size of nail hole diameter.

.17	Remove excess patching material to ensure flat surface.

.18	Patch countersunk nail heads as soon as possible to avoid colour variations and within 24 hours of panel installation.

.19	Do not apply concealing filler below 5ºC.

3.04	CLEANING

.1	Upon completion of work, remove excess materials, equipment and debris from site.

.2	Clean surfaces of work exposed to view, using soft fiber brushes, water and mild cleaning agents as recommended by the fiber cement manufacturer.  Remove deposits of foreign material, dirt, soiling and stains.  Rinse surfaces thoroughly after cleaning.

.3	Use proper cleaning materials and methods to prevent damage to surfaces or work of other trades.  Make good any such damage to satisfaction of Consultant.

3.05	WASTE MANAGEMENT AND DISPOSAL

.1	Separate waste materials for [reuse] [and] [recycling at nearest used building materials’ facility.

END OF SECTION